OPTIMALLY STAGGERED FINNED CIRCULAR AND ELLIPTIC TUBES IN FORCED CONVECTION

| R. S. Matosa, T. A. Laursenb, J. V. C. Vargasa, and A. Bejanc aUniversidade Federal do Paraná Departamento de Engenharia Mecânica Centro Politécnico Bairro Jardim das Américas CP. 19011, Curitiba, Paraná, Brasil rudmar@demec.ufpr.br bDuke University Department of Civil and Environmental Engineering Durham, NC, 27708-0287, USA cDuke University Department of Mechanical Engineering & Materials Science Durham, NC, 27708-0300, USA | ABSTRACT This work presents a three-dimensional (3-D) numerical and experimental geometric optimization study to maximize the total heat transfer rate between a bundle of finned tubes in a given volume and a given external flow both for circular and elliptic arrangements, for general staggered configurations. Several experimental configurations were built by reducing the tube-to-tube spacings, identifying the optimal spacing for maximum heat transfer. Similarly, it was possible to investigate the existence of optima with respect to other two geometric degrees of freedom, i.e., tube eccentricity and fin-to-fin spacing. The results are reported for air as the external fluid in the laminar regime, for Re2b = 100 and 125, where 2b is the ellipses smaller axis length. Circular and elliptic arrangements with the same flow obstruction cross-sectional area were compared on the basis of maximum total heat transfer. This paper reports three-dimensional (3-D) numerical optimization results for finned circular and elliptic tubes arrangements, which are validated by direct comparison with experimental measurements with good agreement. Global optima with respect to tube-to-tube spacing, eccentricity and fin-to-fin spacing (S/2b ( 0.5, e ( 0.5 and (f ( 0.06 for Re2b = 100 and 125, respectively) were found and reported in general dimensionless variables. A relative heat transfer gain of up to 19% is observed in the optimal elliptic arrangement, as compared to the optimal circular one. The heat transfer gain, combined with the relative material mass reduction of up to 32% observed in the optimal elliptic arrangement in comparison to the circular one, show the elliptical arrangement has the potential for a considerably better overall performance and lower cost than the traditional circular geometry. Keywords: heat transfer enhancement, optimal geometry, eccentricities |
| --- | --- |

# NOMENCLATURE

a	larger ellipses semi-axis, m

b	smaller ellipses semi-axis, m

Ba	bias limit of quantity a

cp	fluid specific heat at constant pressure, J/(kg.K)

##### D	tube diameter, m

E	ellipses eccentricity, b/a

H	array height, m

K	fluid thermal conductivity, W/(m.K)

L	array length, m

array length to smaller ellipses axis aspect ratio

m	total mass of the arrangement, kg

dimensionless total mass of the arrangement

nf	number of fins

nt	total number of tubes

N	number of tubes in one unit cell

Nec	number of elemental channels

p	pressure, N/m2

P	dimensionless pressure

Pe2b	Peclet number based on smaller ellipses axis

Pr	fluid Prandtl number, 

Pa	precision limit of quantity a

dimensionless overall thermal conductance, Eq.(15)

Q	overall heat transfer rate, W

Re2b	Reynolds number based on smaller ellipses axis, u(2b/(

S	spacing between rows of tubes, m, Fig. 1

S/D	dimensionless spacing between rows of tubes (circular arrangement)

S/2b	dimensionless spacing between rows of tubes (elliptic arrangement)

t	time, s

tf	fin thickness, m

tt	tube thickness, m

T	average fluid temperature, K

u1,u2,u3 velocity components, m/s

U1,U2,U3 dimensionless velocity components

Ua	uncertainty of quantity a

W	array width, m

x,y,z	cartesian coordinates, m

X,Y,Z	dimensionless cartesian coordinates

## Greek symbols

(	thermal diffusivity, m2/s

(	mesh convergence criterion, Eq. (21)

(	fin-to-fin spacing, m

(	dimensionless temperature

dimensionless average fluid temperature

(	fluid kinematic viscosity, m2/s

(	density, kg/m3

(f	dimensionless fin density in direction z

(	dimensionless time

## Subscripts

in	unit cell inlet

m	maximum

opt	optimal

out	unit cell outlet

s	solid tube wall and fin material

w	tube surface

(	free stream

INTRODUCTION

The optimization of industrial processes for maximum utilization of the available energy (exergy) has been a very active line of scientific research in recent times. The increase in energy demand in all sectors of the human society requires an increasingly more intelligent use of available energy. Many industrial applications require the use of heat exchangers with tubes arrangements, either finned or non-finned, functioning as heat exchangers in air conditioning systems, refrigeration, heaters, radiators, etc. Such devices have to be designed according to the availability of space in the device containing them. A measure of the evolution of such equipment, therefore, is the reduction in size, or in occupied volume, accompanied by the maintenance or improvement of its performance. Hence, the problem consists of identifying a configuration that provides maximum heat transfer for a given space (Bejan, 2000).

The main focus of this work is on the experimental and numerical geometric optimization of staggered finned circular and elliptic tubes in a fixed volume to obtain global optima with respect to tube-to-tube spacing, eccentricity and fin-to-fin spacing. In this work, a three-dimensional (3-D) numerical optimization procedure for finned circular and elliptic arrangements is conducted and validated by means of direct comparison to experimental measurements to search the optimal geometric parameters in general staggered finned circular and elliptic configurations for maximum heat transfer. Circular and elliptic arrangements with the same flow obstruction cross-sectional area are then compared on the basis of maximum total heat transfer. Appropriate non-dimensional groups are defined and the optimization results reported in dimensionless charts.

THEORY

A typical four-row tube and plate fin heat exchanger with a general staggered configuration is shown in Fig. 1. Fowler and Bejan (1994) showed that in the laminar regime, the flow through a large bank of cylinders can be simulated accurately by calculating the flow through a single channel, such as that illustrated by the unit cell seen in Fig. 1. Because of the geometric symmetries, there is no fluid exchange or heat transfer between adjacent channels, or at the top and side surfaces. At the bottom of each unit cell, no heat transfer is expected across the plate fin midplane. In Fig. 1, L, H and W are the length, height and width (tube length) of the array, respectively. The fins are identical, where tf is the thickness and , is the fin-to-fin spacing.

Figure 1. Arrangement of finned elliptic tubes, and the three dimensional computational domain.

The governing equations are the mass, momentum and energy equations which were simplified in accordance with the assumptions of three-dimensional incompressible steady-state laminar flow with constant properties, for a Newtonian fluid (Bejan, 1995):

(1)

(2)

(3)

(4)

(5)

The symmetries present in the problem allow the solution (computational) domain to be reduced, to one unit cell, represented by the extended domain shown in Fig. 1, of height (S/2 + b), and width      (/2 + tf/2).

In Eqs. (1) - (5), dimensionless variables have been defined based on appropriate physical scales as follows:

(6)

(7)

where (x, y, z) are the Cartesian coordinates, m; p the pressure, N/m2;   the fluid density, kg/m3;  the free stream velocity, m/s; (u, v, w) the fluid velocities, m/s; T  the temperature, K;  unit cell inlet temperature, K;  the tubes surface temperature, K; L the array length in the flow direction, m; the fluid kinematic viscosity, m2/s and  the fluid thermal diffusivity, m2/s.

The solution domain of Fig. 1 is composed by the external fluid and half of the solid fin. The solid-fluid interface is included in the solution domain such that mass, momentum and energy are conserved throughout the domain. Eqs. (1) - (5) model the fluid part of the domain. Only the energy equation needs to be solved in the solid part of the domain, accounting for the actual properties of the solid material. The dimensionless energy equation for the solid fin is written as:

(8)

where a dimensionless time is defined by ( = t/(L/u(), t is the time, and  is the solid fin thermal diffusivity, m2/s.

For steady-state solutions  is assumed to be zero. The solution to Eqs. (1) - (8) subject to appropriate boundary conditions for the extended domain of Fig. 1 delivers the velocities (fluid) and temperature (fluid and solid) fields.

The objective is to find the optimal geometry, such that the volumetric heat transfer density is maximized, subject to a volume constraint. The engineering design problem starts by recognizing the finite availability of space, i.e., an available space  as a given volume that is to be filled with a heat exchanger. To maximize the volumetric heat transfer density means that the overall heat transfer rate between the fluid inside the tubes and the fluid outside the tubes will be maximized.

Next, the optimization study proceeds with the identification of the degrees of freedom (variables) that allow the maximization of the overall heat transfer rate between the tubes and the free stream, Q. Three geometric degrees of freedom in the arrangement are identified in this way, i.e.: (i) the spacing between rows of tubes, S; (ii) the tubes eccentricity, e, and (iii) the fin-to-fin spacing, . The behavior of S, e and  at the extremes indicate the possibility of maximum Q in the intervals,                 0 < S < Sm, 0 < e < 1 and 0 < ( < W.

A comparison criterion between elliptic and circular arrangements with the same flow obstruction cross-sectional area is adopted, i.e., the circular tube diameter is equal to two times the smaller ellipse semi-axis of the elliptic tube. This criterion was also adopted in previous studies (Bordalo and Saboya, 1999; Saboya and Saboya, 2001; Rocha et al., 1997; Matos et al., 2001).

To complete the problem formulation, the following boundary conditions are then specified for the extended three-dimensional computational domain in agreement with Fig. 2:

(9)

(10)

(11)

(12)

(13)

(14)

In order to represent the actual flow with boundary conditions (A) and (F), two extralengths need to be added to the computational domain, upstream and downstream, as shown in Fig. 2. The actual dimensions of these extralengths need to be determined by an iterative numerical procedure, with convergence obtained according to a specified tolerance. Once the geometry of the extended computational domain represented by the unit cell of Fig. 2 is specified, Eqs. (1) - (14) deliver the resulting velocities, pressure and temperature fields in the domain.

The dimensionless overall thermal conductance is described by Matos (2003):

(15)

where , is the dimensionless fin density in direction z , and Pr the fluid Prandtl number, .

The dimensionless mass of solid material was calculated through the following equation:

(16)

where tt is the thickness of the tube wall and nt is the total number of tubes in the arrangement.

NUMERICAL METHOD

The numerical solution of Eqs. (1) - (14) was obtained utilizing the finite element method (Zienkiewicz and Taylor, 1989), giving the velocities and temperature fields in the unit cell of Fig. 2.

The implementation of the finite element method for the solution of Eqs. (1) - (5) and (8) starts from obtaining the variational (weak) form of the problem as described by Reddy and Gartling (1994). The weak form is discretized with an ‘upwind’ scheme proposed by Hughes (1978), where it is possible to adequate the discrete form of the problem to the physical characteristics of the flow. After developing the discrete form of the problem, the resulting algebraic equations are arranged in matrix form for the steady state three-dimensional problem as described by Matos (2003).

For the 3-D problem of Fig. 1, the computational domain contains both the external fluid and the solid fin. Thus, the solution of Eq. (8) is also required in order to obtain the complete temperature field. Instead of solving separately for the two entities (fluid and solid) and imposing the same heat flux at the interface solid-fluid, as a boundary condition, the solution is sought for the entire domain, simultaneously, with the same set of conservation equations, imposing zero velocities in the solid fin.

Figure 2. The boundary conditions of the 3-D computational domain.

EXPERIMENTS

An experimental rig was built in the laboratory to produce the necessary experimental data to validate the 3-D numerical optimization of finned arrangements, and to perform the experimental optimization of finned arrangements. Figure 3 shows a schematic drawing of the experimental apparatus utilized in this study.

The circular and elliptic tube arrangements were made from copper circular tubes, all the fins were made from aluminum plates and the electric heaters consisted of double step tubular electric resistances. Twelve high precision thermistors were placed in each test module. All the thermistors were placed in the midplane between the side walls of the wind tunnel and at the midline of the elemental channels. Three thermistors were placed at the arrangement inlet (T1 - T3), five at the outlet (T8 - T12), and four at the tubes surfaces in one elemental channel        (T4 - T7). An additional thermistor (T13) was placed at the midpoint of the extended region to measure the non-disturbed free stream temperature. The velocity measurements were taken with a vane-type digital anemometer and the pressure drop measurements were taken with a pressure transducer, which was connected to a digital pressure meter. The differential pressure measurements had the finality of measuring the pressure drop across each arrangement in all experiments, as shown in Fig. 3. The experimental work involved the acquisition of temperature data in real time.

Figure 3. Experimental apparatus.

The objective of the experimental work was to evaluate the volumetric heat transfer density (or overall thermal conductance) of each tested arrangement by computing  with Eq. (15) through direct measurements of , and ,  and . Five runs were conducted for each experiment. Steady-state conditions were reached after 3 hours in all the experiments. The precision limit for each temperature point was computed as two times the standard deviation of the 5 runs (Kim et al., 1993). It was verified that the precision limits of all variables involved in the calculation of  were negligible in presence of the precision limit of , therefore . The thermistors, anemometer, properties, and lengths bias limits were found negligible in comparison with the precision limit of . As a result the uncertainty of  was calculated by:

(20)

where  is the precision limit of .

The tested arrangements had a total of twelve tubes placed inside the fixed volume LHW, with four tubes in each unit cell (four rows). For a particular tube and plate fin geometry, the tests started with an equilateral triangle configuration, which filled uniformly the fixed volume, with a resulting maximum dimensionless tube-to-tube spacing      S/2b = 1.5. The spacing between tubes was then progressively reduced, i.e., S/2b = 1.5, 0.5, 0.25 and 0.1, and in this interval an optimal spacing was found such that  was maximum. All the tested arrangements had the aspect ratio L/2b = 8.52.

Two free stream velocities set points were tested, = 0.1 and 0.13 m/s, corresponding to = 100 and 125, respectively. The largest uncertainty calculated according to Eq. (20) in all tests was .

RESULTS AND DISCUSSION

The results obtained in this study are divided in two parts: (i) experimental validation of 3-D numerical results for finned arrangements, and       (ii) global optimization results with respect to tube-to-tube spacing, eccentricity and fin density.

To obtain accurate numerical results, several mesh-refinement tests were conducted. The monitored quantity was the dimensionless overall thermal conductance, computed with Eq. (15), according to the following criterion:

(21)

where j is the mesh iteration index, i.e., as j increases the mesh is more refined. When the criterion is satisfied, the j - 1 mesh is selected as the converged mesh.

For all cases the mesh was established to consist of 17160 nodes and 13200 elements.

The numerical results obtained with the finite element code are validated by direct comparison to experimental results obtained in the laboratory for circular and elliptic arrangements. According to    Fig. 1 the dimensions of the fixed volume for the experimental optimization procedure were                 L = 135.33 mm, H = 115.09 mm, W = 152 mm, and D = 2b = 15.875 mm. All the arrangements had      Nec = 6 and N = 4, where N is the number of tubes in one unit cell.

The numerical and experimental optimization procedures followed the same steps. First, for a given eccentricity, the dimensionless overall thermal conductance, , was computed with Eq. (15), for the range . The same procedure was repeated for e = 0.45, 0.5, 0.6 and 1.

The numerical and experimental double optimization results for finned tubes ((f = 0.006) with respect to tube-to-tube spacings and eccentricities are shown in Fig. 4, together with the corresponding experimental results, for Re2b = 100 and 125. The direct comparison of  obtained numerically and experimentally shows that the results are in good agreement. The agreement is remarkable if we consider that in the experiments the tested arrays had uniform heat flux, and were not large banks of cylinders. In the numerical simulations the domain was infinitely wider (i.e., no influence from the wind tunnel walls) and with isothermal tubes. An optimal eccentricity was not obtained experimentally, since an arrangement with e < 0.5 was not built. However, the numerical results were validated by the good agreement with the experimental results for                e = 0.5, 0.6 and 1. Hence, the numerical results obtained for e = 0.45 are also expected to be accurate. At e = 0.45,  drops considerably with respect to e = 0.5, determining an optimal pair                    (S/2b, e)opt = (0.5, 0.5) for the twice maximized overall heat transfer .

Figure 5 shows an intermediate step in the optimization procedure in order to allow the comparison between the optimal elliptic configuration with the optimal circular one. It is observed that  for the elliptic arrangement        (e = 0.5) optimized with respect to tube-to-tube spacing is higher than  for the circular arrangement (e = 1) for all fin densities, . Furthermore, the elliptic configuration requires less fins than the circular one at optimal conditions, i.e., at the optimal pair (S/2b, (f)opt. It is possible to determine the total mass of material in dimensionless terms, through Eq. (16), at (S/2b, (f)opt for both arrangements. The result of this analysis shows that the total dimensionless mass of the optimal elliptic arrangement is 32% smaller than the optimal circular one.

Figure 6 shows the results of global optimization with respect to the three degrees of freedom, S/2b, e and (f. An optimal set of geometric parameters was numerically determined such that  was three times maximized, i.e.,                          (S/2b, e, (f)opt ( (0.5, 0.5, 0.06).

As stated in section 2, the governing equations are for the laminar regime. Therefore, the results of Figs. 4 - 6 were obtained for low Reynolds numbers, i.e., Re2b = 100 and 125. For higher Reynolds numbers, convergence to numerical solutions becomes increasingly more difficult, indicating the flow is reaching a regime of transition to turbulence.

Figure 4. Numerical and experimental optimization results for finned arrangements.

From all numerical and experimental results obtained in this study, it is important to stress that a heat transfer gain of up to 19% was observed in the optimal elliptic arrangement with e = 0.5, as compared to the optimal circular one.

Figure 5. Comparison of the numerical optimization results for finned circular and elliptic arrangements.

Figure 6. Numerical global optimization results for finned arrangements.

CONCLUSIONS

In this work, a theoretical, numerical and experimental study was conducted to demonstrate that finned circular and elliptic tubes heat exchangers can be optimized for maximum heat transfer, under a fixed volume constraint. The internal geometric structure of the arrangements was optimized for maximum heat transfer. Better global performance is achieved when flow and heat transfer resistances are minimized together, i.e., when the imperfection is distributed in space optimally (Bejan, 2000). Optimal distribution of imperfection represents flow architecture, or constructal design.

The results were presented nondimensionally to allow for general application to heat exchangers of the type treated in this study. A suitable equivalent pressure drop criterion permitted the comparison between circular and elliptic arrangements on a heat transfer basis in the most isolated way possible. A heat transfer gain of up to 19% was observed in the optimal elliptic arrangement, as compared to the optimal circular one. The heat transfer gain, combined with the relative total dimensionless material mass reduction of up to 32% observed in this study, show the elliptical arrangement has the potential for a considerably better overall performance and lower cost than the traditional circular one.

Three degrees of freedom were investigated in the heat exchanger geometry, i.e., tube-to-tube spacing, eccentricity and fin-to-fin spacing. Global optima were found with respect to tube-to-tube spacing, eccentricity and fin-to-fin spacing, i.e., (S/2b, e, (f)opt ( (0.5, 0.5, 0.06) for Re2b = 100 and 125. Such globally optimized configurations are expected to be of great importance for actual heat exchangers engineering design, and for the generation of optimal flow structures in general.

### ACKNOWLEDGEMENTS

The authors acknowledge with gratitude the support of the Program of Human Resources for the Oil Sector and Natural Gas, of the Brazilian Oil National Agency - PRH-ANP/MCT.

REFERENCES

Bejan, A., 1995, Convection Heat Transfer, 2nd Edition, Wiley.

Bejan, A., 2000, Shape and Structure, from Engineering to Nature, Cambridge University Press.

Bordalo, S. N., Saboya, F. E. M., 1999, Pressure drop coefficients for elliptic and circular sections in one, two and three-row arrangements of plate fin and tube heat exchangers, Journal of the Brazilian Society of Mechanical Sciences, Vol. XXI, No. 4, pp. 600-610.

Fowler, A. J., Bejan, A., 1994, Forced convection in banks of inclined cylinders at low Reynolds numbers, International Journal of Heat and Fluid Flow, Vol. 15, No. 2, pp. 90-99.

Hughes, T. J. R., 1978, A simple scheme for developing upwind finite elements, International Journal for Numerical Methods in Engineering, Vol. 12, No. 9, pp. 1359-1365.

Kim J. H., Simon T. W., Viskanta R., 1993, Journal-of-Heat-Transfer Policy on Reporting Uncertainties in Experimental Measurements and Results, Journal of Heat Transfer-Transactions of the ASME, Vol. 115, No. 1, pp. 5-6.

Matos, R. S., 2003, Otimização e Comparação de Desempenho de Trocadores de Calor de Tubos Circulares e Elípticos Aletados, Doctoral thesis, PIPE-UFPR, Curitiba, PR. (in portuguese)

Matos, R. S., Vargas, J. V. C., Laursen, T. A., Saboya, F. E. M., 2001, Optimization study and heat transfer comparison of staggered circular and elliptic tubes in forced convection, International Journal of Heat and Mass Transfer, Vol. 44, No. 20, pp. 3953-3961.

Reddy, J. N., Gartling, J. N., 1994, The Finite Element Method in Heat Transfer and Fluid Dynamics, CRC Press.

Rocha, L. A. O., Saboya, F. E. M., Vargas, J. V. C., 1997, A comparative study of elliptical and circular sections in one and two-row tubes and plate fin heat exchangers, International Journal of Heat Fluid Flow, Vol. 18, No. 2, pp. 247-252.

Saboya, S. M., Saboya, F. E. M., 2001, Experiments on elliptic sections in one and two-row arrangements of plate fin and tube heat exchangers, Experimental Thermal and Fluid Science, Vol. 24, No. 1-2, pp. 67-75.

Zienkiewicz, O. C., Taylor, R. L., 1989, The Finite Element Method, vol. 1, McGraw-Hill.